## BOQ
SCHEDULE OF WORKS: THREE PHASE ELECTRIC POWER CONNECTION WORKS FOR NABINAGAR SUBBRANCH
SL | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | ENERGY METER: Supply & Installation of Electrical Energy Meter -415V, 03 PHASE, 04 WIRE System from REB consisting of following Item by Sanctioning of 13 KW Electrical Load:
1.1 | 13 KW Online Application Fee & Wiring Certificate | JOB | 1 |  | 0
1.2 | Electrical Demand Charge for 13 KW | KW | 13 |  | 0
1.3 | Electrical Meter Board Earthing work with necessary accessories/ works | JOB | 1 |  | 0
1.4 | Solar Installation as new Rule -1.5KW (Single Phase) | JOB | 1 |  | 0
1.5 | Supply of Net Metering fee of Solar (Single Phase) | JOB | 1 |  | 0
1.6 | Energy Meter -01 No. (Hosaf /Approved 3 Phase) | NOS | 1 |  | 0
1.7 | Meter Board & 160A TP MCCB circuit braker | PCS | 1 |  | 0
1.8 | Supply of standard sized sercice cable for meter to breaker | LOT | 20 |  | 0
1.9 | 15 KVA PFI With Connetion Cable | NOS | 1 |  | 0
2 | Office Entertainment & Other Expenses | JOB | 1 |  | 0
| Sub Total= |  |  |  | 0