## Summary
SCHEDULE OF ITEM AND BILL OF QUANTITIES : RENOVATION WORKS at SHINGAIR SME UO [RELOCATION PROJECT]
DESCRIPTION | AMOUNT
A. CIVIL WORKS | 0
B. PAINT WORKS | 0
C. TILE/MARBLE & FLOOR FINISH WORKS | 0
D. ELECTRICAL WORKS | 0
E. DOORS & PARTITIONS | 0
F. MISCELLANEOUS WORKS [BLINDS, PVC ETC.] | 0
G. FURNITURE WORKS | 0
H. IT & NETWORKING WORKS | 0
GRAND TOTAL | 0

## BOQ
SCHEDULE OF ITEM AND BILL OF QUANTITIES : RENOVATION WORKS at SHINGAIR SME UO [RELOCATION PROJECT]
S.L | ITEMS | UOM | QTY | RATE | AMOUNT
A. CIVIL WORKS
1 | DISMANTLING & SITE PREPARATION [All necessary dismantling to complete the project] - especially dismantling works for window. As per direction of the Architect/Authority and removing the debris to a safe distance to be shown by the Authority from the site by the contractor at his own cost and responsibility. Proper care and precautions should be taken for the safety of the Building including its services [viz: Structural, Plumbing & Sanitary, Electrical, Computer Network etc.] during dismantling. | JOB | 1 |  | 0
Sub Total |  |  |  |  | 0
B. PAINT WORKS
1 | PLASTIC PAINT Plastic painting of ‘Berger’ brand of approved color to wall minimum 3 coats with lime putty work, cleaning, sand papering the surfaces in/c. necessary scaffolding etc. complete in all respect as per direction of Architect/ Authority. | SFT | 1500 |  | 0
2 | ENAMEL PAINT Synthetic Enamel paint of ‘Berger’ brand of approved color to wall, ceiling, wooden surfaces, iron grills, shutters etc. minimum 2 coats over a coat of priming including cleaning, finishing and polishing with sand paper and necessary scaffolding etc. complete in all respect as per direction of Architect/Authority. | SFT | 100 |  | 0
Sub Total |  |  |  |  | 0
C. TILE/MARBLE & FLOOR FINISH WORKS
1 | MIRROR POLISHED HOMOGENEOUS FLOOR TILE [BRAND - RAK / CHARU / EQUIVALENT] Supplying, fitting and fixing homogeneous floor tiles [Imported] of 24" x 24" size and quality on 20 mm thick cement mortar (1:2) base or by ‘CONMIX’ base and raking out the joints with white cement and colored pigment including cutting by electric disk cutter and laying tiles in proper way in/c chipping or dismantling of existing floor if necessary and finishing with care etc., complete in all respect as per design drawing and direction of Architect/Authority. (inside- 360 SFT & lobby-140 SFT) | SFT | 60 |  | 0
Sub Total |  |  |  |  | 0
D. ELECTRICAL WORKS
0 | Emergency light (Rechargeable ) | NOS | 0 |  | 0
1 | Concealed/exposed conduit wiring for following light points including louver shade/PL shade & light/Tube light & its components with looping at the gang (1G/2G/3G/4G as required) switch including grooving/wall cutting, circuit wiring (circuit breaker to Switch) with BYA 1C-2X2.5 Sq.mm, BYA 1C-2X1.5 sq. mm (switch to light) for light wiring & BYA1CX1.0 sq. mm green ECC through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design. Cable brand: BRB/Paradise GANG SWITCHES brand: Legrand/MK brand Light brand :EnegryPac/Philips/Transtec Light Type : LED (13 W)
1.1.1 | 2 light though 1 switch |  | 3 |  | 0 | 6 | Total Lights
1.1.2 | 3 light though 1 switch |  | 16 |  | 0 | 48 | 54
1.2 | Tube light |  |  |  | 0
1.2.1 | 01 no. tube light through 1 switch |  | 2 |  | 0
1.2.2 | 02 nos tube light through 1 switch |  | 0 |  | 0
2 | Concealed/exposed conduit wiring for following points looping at the gang (1G/2G/3G/4G as required) switch including grooving/wall cutting, circuit wiring (CB to Switch) with BYA 1C-2X2.5 Sq.mm, BYA 1C-2X2.5 Sq.mm (switch to fan) & BYA 1CX1.5 sq. mm green ECC through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design. Cable brand: BRB/Paradise GANG SWITCHES brand: Legrand/MK brand | NOS |  |  | 0
2.1 | Supply and Insatallation of exhaust fan with necessary power pont (all complete) | NOS | 3 |  | 0
3 | Concealed conduit wiring for following points through looping at the socket/outlet of 5A/13A/15A including grooving/wall cutting, circuit wiring with BYA 1C-2X2.5 Sq.mm & BYA 1CX1.5 sq. mm green ECC through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design. Cable brand: BRB/Paradise SOCKET brand: Legrand/MK brand |  |  |  | 0
3.1 | Socket point | NOS |  |  | 0
3.1.1 | 4nos - 3pin & 2nos -2pin through 1 circuit |  | 5 |  | 0
3.1.3 | 2nos - 3pin & 1nos -2pin through 1 circuit |  | 4 |  | 0
3.1.5 | DP switch for signage |  | 1 |  | 0
4 | Concealed/exposed conduit wiring for following AC points from DB to AC outdoor unit including circuit wiring with BYA 1C- 4 Sq.mm & BYA 1CX1.5 sq. mm green ECC through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design. Cable brand: BRB/Paradise |  |  |  | 0
4.1 | Single phase AC | NOS | 1 |  | 0
4.2 | Three phase AC |  | 2 |  | 0
5 | MCCB/MCB: Supply and installation of following SP (240V grade) TP (500 V grade) MCB/MCCB in pre installed distribution board in/c connection with cable, cable socket, nut bolts, PIB tape etc. complete in respect providing necessary consumable in/c testing & commissioning as per design, drawing and direction of Authority. brand : Legrand/ABB MCCB/MCB’s brand: Legrand/ABB |  |  |  | 0
5.1 | 6 A to 40 A SP MCB-6 kA | NOS | 14 |  | 0
5.2 | 6 A to 40 A TP MCB-6 kA |  | 2 |  | 0
5.3 | 63 A MCCB (TP) - Adjustable - 16kA |  | 1 |  | 0
6 | CABLES WORKS: Supply and installation of following cables through required size PVC pipe with all consumable materials as per design, drawing and direction of Authority. Brand : BRB/Paradise |  |  |  | 0
6.1 | 1CX6 rm BYA for earthing |  | 80 |  | 0
6.2 | 1CX10 rm NYY (Main Meter to DB) |  | 400 |  | 0
7 | DISTRIBUTION BOARD Supply and installation of following distribution boards [At least 2’ - 0” W x 3’ - 0” H, 6 Sft] or specified in drawing of required size made by 18 SWG B.P. sheet metal enclosed with double cover powder coated painted on outside and enamel paint on inside on rust proof prime coat with hinged front door with handle, lock & key arrangement for concealed/half concealed mounted board having knock out for conduit entry and exit for 415/230V TPN/SPN operations. The board shall have solid three phase, neutral and earth copper bus bar . MCCB/MCB’s are to be so arranged as to keep the knobs projected over the inside ebonite cover. There should be provision for fixing Air-Cooler circuit breakers and emergency circuit breakers as per requirement. The work shall be complete in all respect providing necessary consumable in/c testing & commissioning, as per design, drawing and direction of Authority. Note: 1. Layout design of Distribution Board as per design must be attached inside the boards and there should be marking of all circuit breakers. |  |  |  | 0
7.1 | EDB(Busbar rating of 300A) | NOS | 1 |  | 0
Sub Total |  |  |  |  | 0
E. DOORS & PARTITIONS
2 | ENGRAVED GYPSUM BOARD CEILING Supplying, fitting and fixing 10 mm thick approved quality Gypsum board false ceiling fixed over powder quoted T-bar & cross T of section 1”X 1½”, and L-angle of section 1” X 1” at edges, at 2’-0” X 2’-0” grid suspended from ceiling by 12 SWG double ply G.I. wire fixed to the ceiling by rowel plug, iron angles, screws, hooks, nails etc. maintaining straight lines and desired finished level at bottom face with vertical wooden strut as required in/c making holes in slabs, or beams by electric drill machine and mending good the damages, if any, during execution of the work in/c cost of all materials, accessories, scaffoldings, labor for installation, screws, nails, etc. complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 950 |  | 0
8 | SINGLE BOARD GURDER (To sitting the vertical blinds, beam & light gurder) all complete in all respect as per design, drawing and direction of Architect/Authority | SFT | 120 |  | 0
Sub Total |  |  |  |  | 0
F. MISCELLANEOUS WORKS
1 | Vertical BLIND Supplying, fitting and fixing in position imported best quality 125 mm wide vertical blinds of approved color and quality with all imported accessories complete in all respect as per design, drawing & direction of Architect/Authority. | SFT | 260 |  | 0
Sub Total |  |  |  |  | 0
G. FURNITURE WORKS
6 | NEW DESIGN WORK STATION -IMPORTED (Open Workstation for 2 person ( Size: 8'-0' Lx 2' Wx 2'-6" H), having 1" thick Melamine Board top & supported by imported 3"x3" MS Box Leg of 16 swg thickness, internal bracings of 2"x1" MS box of 16 swg thickness, 8"x4" Cable Tray of 22 swg thick MS Sheet all having Duco Metal Paint of Approved Color, 4 nos 12mm board partition on table and imported Knob of approved design, 2 Nos Aluminum Cable Cap, 2 nos Key Board Tray, 2 Nos Drawer Unit Perforated ACP Sheet Separator at leg level with proper hanging arrangement etc. All complete with necessary hardware and to be executed as per design, drawing and direction of Architect/Authority. | SET | 2 |  | 0
7 | NEW DESIGN WORK STATION -IMPORTED (Open Workstation for 4 person (8'-0" Lx 4' Wx 2'-6" H), having 1" thick Melamine Board top and 1" thick 2'x4' Melamine Board drop at one end supported by imported 3"x3" MS Box Leg of 16 swg thickness, internal bracings of 2"x1" MS box of 16 swg thickness, 8"x4" Cable Tray of 22 swg thick MS Sheet all having Duco Metal Paint of Approved Color, 3 nos 10mm Edge 4'x1' size board partition on table with imported Glass Knob of approved design, 3 nos 6"x3" Aluminum Cable Cap, 4 nos wooden Key Board Tray, 4 Nos Aluminum Cable Cap, 4 nos Key Board Tray, 4 Nos Drawer. Unit Nos Imported CPU Holder beneath the table, Perforated ACP Sheet Separator at leg level with proper hanging arrangement etc. All complete with necessary hardware and to be executed as per design, drawing and direction of Architect/Authority. | SET | 2 |  | 0
9 | LOW HEIGHT/OVER HEAD CABINET Supply, fitting & fixing of low height cabinet made of 3/4" Partex board and best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 50 |  | 0
13 | Dining TOP Modification work (Supply, fitting & fixing of running table top made of 25mm thickness particle board with melamine resin film under short cycle process both 2mm PVC edging cover all around the top and supported by proper wooden frame cover with paint finish 1/2" board including best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority.) | SFT | 14 |  | 0
14 | PRINTING / Photocopier TABLE Supply, fitting & fixing of printing table made of 25 mm Partex board and best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority. | NOS | 1 |  | 0
15 | Meeting Table ( Round) Supply, fitting & fixing of meeting table made of 25 mm Partex board and best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority. | NOS | 1 |  | 0
Sub Total |  |  |  |  | 0
H. IT & NETWORKING WORKS
1 | New Network Connection with Faceplate, Modular, Patch Cord etc [Cat 6 Cable Brand - Panduit/Systemax/ADP] | NOS | 8 |  | 0
Sub Total |  |  |  |  | 0
|  |  | Grand Total: |  | 0