## BOQ
BILL OF QUANTITIES : THREE PHASE ELECTRIC LOAD ENHANCEMENT WORKS AT BRAHMANPARA SUBBRANCH
Sl | Schedule of Item | Unit | Quantity | Rate | Amount
1 | ENERGY METER : Supply & Installation of Electrical Energy Meter -415V, 03 PHASE, 04 WIRE System from REB consisting of following Item by Sanctioning of 25 KW Electrical Load:
1.1 | 25 KW Online Application Fee & Wiring Certificate
1.2 | Electrical Demand Charge for 25 KW | KW | 25 |  | 0
1.3 | Electrical Meter Board Earthing work with nessary accessories / works | JOB | 1 |  | 0
1.4 | Solar Installation as new Rule - 3 KW | JOB | 1 |  | 0
1.5 | Supply of net meeting fee of Solar | JOB | 1 |  | 0
1.6 | Energy Meter -01 No. (Hosaf /Approved 3 Phase) | NOS | 1 |  | 0
1.7 | Meter Board & 100A TP MCCB circuit braker | JOB | 1 |  | 0
1.8 | Standard size Service Cable (by REB/LOCAL) Supply & Installation | LOT | 1 |  | 0
1.9 | Supply of 15~ 25 KVA PFI | JOB | 1 |  | 0
2 | Office Entertainment & Other Expenses | JOB | 1 |  | 0
Sub Total |  |  |  |  | 0